UC Proteomics Laboratory

The UC Proteomics Laboratory (UCPL), directed by Ken Greis, PhD, Professor of Cancer Biology and Associate Dean for Research Core Facilities, offers a wide range of biological mass spectrometry and proteomics capabilities. These include protein identification and characterization, analysis of protein interactions (e.g., antibody tags, BioID/TurboID, APEX), isotope tagging (e.g., SILAC, iTRAQ, TMT) and label-free comparative profiling of complex protein mixtures by nanoLC-MS/MS, global profiling of protein regulatory modifications (i.e. glyco, phospho, ubiquitin, acetyl) and direct quantitation of proteins and peptides by selected and multiple reaction monitoring (SRM/MRM) techniques.  To provide these capabilities and services, the UCPL maintains laboratory space consisting of about 1800 sq. ft. in rooms 1210-1216 in the Vontz Center for Molecular Studies. The Vontz Center was opened in 1999 and had laboratory space renovated in 2010 to house the proteomics laboratory with enough open floor space, electrical, and gas utilities to readily accommodate up to 5 mass spectrometers. Also included is substantial wet lab space for sample preparation as well as the computer infrastructure for data transfer and processing (see equipment section). Importantly, the UCPL has experienced laboratory personnel collectively trained in the design, execution, and interpretation of experiments to work with investigators to meet their specific proteomics and quantitative mass spectrometry needs.

Equipment

The general equipment available in the UCPL laboratory includes a Sigma 4K15 refrigerated centrifuge, Eppendorf 5417R refrigerated microfuges, probe and water bath sonicators, two fume hoods, a biosafety cabinet, Mettler balances, electrophoresis equipment and power supplies, heat blocks and water baths, a cold room, refrigerators, and freezers (-20 and -80). Other specialty equipment includes:

1)	Two refrigerated SpeedVac concentrations. These systems are equipped with rotors for 96-well plate, microfuge tubes and up to 50 mL vials for sample preparation.

2)	A Beckman Biomek NX liquid handling robotics system. This system is fully programmable to allow for nearly any workflow including standard methods for the organic precipitation for small molecule sample preparation or for automated enzyme screening assays.

3)	Mass Spectrometers:

a.	Thermo Oribitrap Eclipse Tribrid mass spectrometer. This system acquired via an NIH S10 instrumentation grant in November of 2019 is configured with a Dionex Ultimate 3000 RSLCnano LC and a FAIMS Pro High Field Asymmetric Waveform Ion Mobility Spectrometry Interface to allow for maximum separation and detection of peptides in complex mixtures. This system is ideally suited for high throughput and high sensitivity comparative quantitative studies using Tandem Mass Tag (TMT) reagents or label-free quantitation methods as well as protein interaction and proximity labeling studies. With up to 5X better sensitivity compared to the previous Quadrupole-Tof systems in the lab, this system is targeted for global profiling of protein modifications (e.g., phosphorylation, ubiquitination) and for multiplex profiling studies of large number of samples.

b. Thermo Orbitrap Fusion Lumos Tribrid mass spectrometer. This high-resolution mass spectrometer coupled with a Thermo Vanquish UHPLC system. This system is primarily dedicated to the development of lipid profiling, quantitative mass spectrometry and characterization of intact proteins with accurate mass. With its high-resolution accurate mass (HRAM), it is ideally suited for structural elucidate of small molecule as well as evaluating intact proteins. With its rapid duty cycle and attomole sensitivity, it is also well suited for evaluation of multiplex targeted quantification of proteins using selected, multiple and/or parallel reaction monitor (SRM/MRM/PRM) methods.

4)	Other equipment/infrastructure. The laboratory is also equipped to generate and maintain the high purity air and nitrogen needed to operate the instruments. This includes a 30 hp Kaeser ASD 30 air compression system, an Atlas Copco model NGP8+ Nitrogen generation system and a Palmer-Balston HPZA-30000 Zero Grade Air generator. Finally, the laboratory also maintains servers and software algorithms and workstations needed for data processing including: 1) a dedicated 8-processor server for high throughput identification and quantification of proteins; 2) a 16-processor system running a variety of data analysis software including the Thermo Proteome Discoverer Software packages for proteomics analyses and MultiQuant software for protein identification and quantification.